## Light Fixtures
Project Name | [6 empty] | PAGE | 1 | OF | 1
Providence Portland Medical Center -Cancer Center 9th & 10th Floor Renovation/Expansion |  | E3.09B1 | E3.09B2 | E3.09B3 | E3.09B4 | E3.09F2
Item Description | Quantity
PRR1 | 146 | 23 | 24 | 19 | 39 | 41
PRR2 | 46 | 7 | 8 | 7 | 13 | 11
PRR3 | 48 | 8 | 8 | 6 | 13 | 13
PRR4 | 50 | 7 | 8 | 8 | 11 | 16
PRS1 | 48 | 7 | 8 | 7 | 13 | 13
PRW1 | 48 | 8 | 8 | 6 | 13 | 13
PRW2 | 49 | 9 | 8 | 6 | 13 | 13
PRW3 | 48 | 8 | 8 | 6 | 13 | 13
B1 | 11 | 0 | 0 | 4 | 4 | 3
R1A - 14' | 2 | 0 | 0 | 0 | 1 | 1
R1A - 16' | 1 | 0 | 0 | 1 | 0 | 0
R1A - 28'9'' | 1 | 0 | 0 | 0 | 1 | 0
R1A - 33.5' | 1 | 0 | 0 | 0 | 0 | 1
R1A - 34' | 2 | 1 | 0 | 0 | 1 | 0
R1A - 35' | 1 | 0 | 1 | 0 | 0 | 0
R1A - 35.5' | 1 | 0 | 1 | 0 | 0 | 0
R1A - 36' | 1 | 0 | 0 | 0 | 1 | 0
R1A - 44' | 1 | 0 | 0 | 0 | 0 | 1
R1A - 48' | 2 | 0 | 0 | 0 | 1 | 1
R1A - 48.75' | 1 | 0 | 0 | 0 | 1 | 0
R1A - 56' | 1 | 0 | 0 | 0 | 1 | 0
R1A - 99' | 1 | 0 | 0 | 1 | 0 | 0
R1B - 37.75' mod 4' = 1.75' | 1 | 0 | 0 | 1 | 0 | 0
R1B - 49.5' mod 4' = 1.5' | 1 | 1 | 0 | 0 | 0 | 0
R1B - 50' mod 4' = 2' | 1 | 1 | 0 | 0 | 0 | 0
R1B - 52.5' mod 4' = 0.5' | 1 | 0 | 1 | 0 | 0 | 0
R1C - 7' | 1 | 0 | 1 | 0 | 0 | 0
R1C - 7.5' | 1 | 0 | 1 | 0 | 0 | 0
R1C - 7.5' by 10' by 8' | 1 | 0 | 0 | 1 | 0 | 0
R1C - 8' | 2 | 0 | 0 | 0 | 2 | 0
R1C - 8' by 11' | 2 | 0 | 0 | 0 | 2 | 0
R1C - 4' by 12' | 1 | 0 | 0 | 1 | 0 | 0
R1C - 12' | 1 | 0 | 0 | 0 | 0 | 1
R2 | 70 | 3 | 16 | 10 | 27 | 14
R3 | 3 | 2 | 1 | 0 | 0 | 0
R4 - 11' | 1 | 0 | 0 | 1 | 0 | 0
R4 - 16' | 1 | 0 | 0 | 1 | 0 | 0
R5 | 2 | 0 | 0 | 2 | 0 | 0
R6 | 78 | 2 | 19 | 10 | 34 | 13
R7 | 21 | 0 | 2 | 4 | 11 | 4
UC40 | 30 | 0 | 5 | 5 | 12 | 8
V1 | 53 | 8 | 10 | 6 | 14 | 15
W1 | 54 | 6 | 8 | 8 | 19 | 13
W2 | 10 | 1 | 1 | 2 | 3 | 3
X1 | 19 | 0 | 2 | 1 | 10 | 6
X2 | 11 | 1 | 1 | 4 | 4 | 1
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Distribution
Project Name | 0 |  | PAGE | 2 | OF | 1
Item Description | Quantity | E5.1
100 amp panel | 0
200 amp panel | 0
400 amp panel | 0
0
0
0
0
600 SDP | 0
800 SDP | 0
1000 SDP | 0
1200 SDP | 0
0
0
0
600 MDP | 0
800 MDP | 0
1000 MDP | 0
1200 MDP | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Power Devices
Project Name | 0 | PAGE | 5 | OF | 1
Item Description | Quantity
1G Recept. | 0
2G Recept. | 0
1G Recept. GFI | 0
2G Recept. GFI | 0
1G Recept. GFI WP | 0
2G Recept. GFI WP | 0
1G Recept. Surface | 0
2G Recept. Surface | 0
1G Receptacle Floor | 0
1G Receptacle ceiling | 0
0
0
20a 120-volt Twist | 0
20a 208-volt Twist | 0
20a 208-volt Twist 3-phase | 0
30a 208-volt Twist | 0
30a 208-volt Twist 3-phase | 0
40a 208-volt Twist | 0
40a 208-volt Twist 3-phase | 0
50a 208-volt Twist | 0
50a 208-volt Twist 3-phase | 0
0
0
0
120-volt EM push buttons | 0
Door Push Buttons LV | 0
0
0
S | 0
SS | 0
SSS | 0
SSSS | 0
SLV NEPODM Series | 0
SLV | 0
S3 | 0
S3S3 | 0
Photo Sensor NCM-ADC Series | 0
S _ | 0
S _ S _ | 0
S _ S _ S _ | 0
S occ. Sen. wall | 0
S occ. Sen. ceiling | 0
Power Pack | 0
Relay | 0
Time Clock | 0
Photo Cell | 0

## Conduit
Project Name | 0 | [9 empty] | PAGE |  | OF | 7
| Length |  | Count
Item Description | TOTAL
1/2" Empty | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
1/2" w/3#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
1/2" w/4#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
1/2" w/5#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" Empty | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/3#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/4#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/5#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/6#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/7#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/8#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/9#12 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/3#10 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/4#10 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/5#10 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/7#10 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/9#10 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
1/2"w/2#18 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
1/2"w/Belden 4#22 | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
3/4" w/3#12 PVC | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
12/2 MC | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
12/3 MC | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
12/4 MC | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
12/2 MC Hosp. | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
12/3 MC Hosp. | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
12/4 MC Hosp. | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
| 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
J-Box 4 11/16 Square Deep | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /
J-Box 4 Square Deep | 0 | / | 0 | / | / | / | / | / | / | / | / | / |  |  | /

## Grounding
Project Name | 0 |  | PAGE | 8 | OF | 1
Item Description | Quantity
3/0 Bare | 0 | 0
3/0 Splice | 0 | 0
3/0 CAD Weld to 5/8"x10' rod | 0 | 0
5/8" Ground rod | 0 | 0
5/8" Ground rod Clamp | 0 | 0
5/8" CAD to rebar | 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0

## Misc. Take Off
Project Name | 0 | PAGE | 9 | OF | 1
Item Description | Quantity
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## LV
Project Name | 0 | PAGE | 10 | OF | 1
Item Description | Quantity
Smoke Detector | 0
Smoke Detector Relay | 0
Heat Detector | 0
Strobe | 0
Horn / Strobe | 0
Pull Station | 0
Relay Module | 0
Duct Detector | 0
Expander Panel | 0
Annunciator | 0
Fire Alarm Panel | 0
1/2" EMT | 0
0
0
0
Nurse Call Dome Light | 0
Nurse Call Button | 0
1/2" EMT | 0
0
CCTV | 0
1" EMT w/2 CAT5E | 0
0
Intercom Master | 0
Intercom Room | 0
1" EMT w/1 CAT5E | 0
0
V&D | 0
RJ45 plate/Conn | 0
3/4" EMT Runs | 0
3/4" EMT V&D stub | 0
0
0
0
0
0
16/2 | 0
14/2 | 0
14/4 | 0
0
0
0
1/2" EMT | 0
3/4" EMT | 0
1" EMT | 0
1 1/4 EMT | 0
0
0

## Wire Way
Project Name | 0 | PAGE | 3 | OF | 1
Item Description | Quantity
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Feeders & Equipment
Project Name | 0 |  |  |  | PAGE | 11 |  | OF | 1
From | To | # Runs | Conduit Size | Conduit Type | Conduit Length | # 90's | # Wires | Wire Size | Misc.

## Demo
Project Name | 0 | PAGE | 6 | OF | 1
Item Description | Quantity
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## 120-208 Equipment Conn.
Project Name | 0 | PAGE | OF
Item Description | Quantity
20a 120-volt w/switch | 0
20a 208-volt | 0
20a 208-volt 3-phase | 0
30a 208-volt w/disc. | 0
30a 480-volt 3-phase w/disc. | 0
40a 208-volt | 0
40a 208-volt 3-phase | 0
50a 208-volt | 0
50a 208-volt 3-phase | 0
60a 208-volt | 0
60a 208-volt 3-phase | 0
70a 208-volt 3-phase | 0
100a 208-volt 3-phase | 0
125a 208-volt 3-phase | 0
170a 208-volt 3-phase | 0
200a 208-volt 3-phase | 0
250a 208-volt 3-phase | 0
300a 208-volt 3-phase | 0
400a 208-volt 3-phase | 0
0
0
0
20a 120-volt LT | 0
20a 208-volt LT | 0
20a 208-volt 3-phase LT | 0
30a 208-volt LT w/disc. | 0
30a 480-volt 3-phase LT w/disc. | 0
40a 208-volt LT | 0
40a 208-volt 3-phase LT | 0
50a 208-volt LT | 0
50a 208-volt 3-phase LT | 0
60a 208-volt LT | 0
60a 208-volt 3-phase LT | 0
70a 208-volt 3-phase LT | 0
100a 208-volt 3-phase LT | 0
125a 208-volt 3-phase LT | 0
170a 208-volt 3-phase LT | 0
200a 208-volt 3-phase LT | 0
250a 208-volt 3-phase LT | 0
300a 208-volt 3-phase LT | 0
400a 208-volt 3-phase LT | 0
0
X-Ray Viewer | 0
Lazer Switch | 0
Door Switch | 0
0

## 277-480 Equipment Conn.
Project Name | 0 | PAGE | OF
Item Description | Quantity
20a 277-volt
20a 480-volt
20a 480-volt 3-phase
30a 480-volt
30a 480-volt 3-phase
40a 480-volt
40a 480-volt 3-phase
50a 480-volt
50a 480-volt 3-phase
60a 480-volt
60a 480-volt 3-phase
70a 480-volt 3-phase
100a 480-volt 3-phase
125a 480-volt 3-phase
170a 480-volt 3-phase
200a 480-volt 3-phase
250a 480-volt 3-phase
300a 480-volt 3-phase
400a 480-volt 3-phase
20a 277-volt LT
20a 480-volt LT
20a 480-volt 3-phase LT
30a 480-volt LT
30a 480-volt 3-phase LT
40a 480-volt LT
40a 480-volt 3-phase LT
50a 480-volt LT
50a 480-volt 3-phase LT
60a 480-volt LT
60a 480-volt 3-phase LT
70a 480-volt 3-phase LT
100a 480-volt 3-phase LT
125a 480-volt 3-phase LT
170a 480-volt 3-phase LT
200a 480-volt 3-phase LT
250a 480-volt 3-phase LT
300a 480-volt 3-phase LT
400a 480-volt 3-phase LT